# Material R32a [1] [2] [3] Saturation Temperature: 221.5k

| Property | R134-a Liquid | R134-a Vapor | Unit |
| --- | --- | --- | --- |
| Density | 1240 | 13.6 | kg/m3 |
| Dynamic Viscosity | 0.00031 | 1.1e-5 | kg/ (m s) |
| Molecular weight | 52.02389 | 52.02389 | kg/kmol |
| Specific heat | 1900 | Piecewise-polynomial | j/(kgk) |
| Standard state enthalpy | -4.265e+08 | -1.932e+08 | J/kgmol |
| Thermal conductivity | 0.105 | 0.0105 | W/(mk) |

## E = 0.8

### Geometry

Major Axis a = 11.90625 mm

Minor Axis b = 9.525 mm

Eccintricity=ba=9.52511.90625=0.8

### Temperature

### Volume Fraction

## E = 0.6

### Geometry

Major Axis a = 15.857 mm

Minor Axis b = 9.525 mm

Eccintricity=ba=9.52515.857=0.6

### Temperature

### Volume Fraction

## E = 0.4

### Geometry

Major Axis a = 23.8125 mm

Minor Axis b = 9.525 mm

Eccintricity=ba=9.52523.8125=0.4

### Temperature

### Volume Fraction

## E = 0.2

### Geometry

Major Axis a = 47.625 mm

Minor Axis b = 9.525 mm

Eccintricity=ba=9.52523.8152=0.2

### Temperature

### Volume Fraction

## Phase Fraction Charts

## Temperature Charts

Wall Heat Flux

# References

| [1] | E. ToolBox. [Online]. Available: https://www.engineeringtoolbox.com/refrigerants-d_902.html |
| --- | --- |
| [2] | mitsubishielectricmalaysia. [Online]. Available: https://www.mitsubishielectricmalaysia.com/wp-content/uploads/2022/09/R32-Booklet_ENG.pdf |
| [3] | J. &. C. B. &. Z. Z. &. L. D. Tian, "Theoretical Study on Cryogen Spray Cooling in Laser Treatment of Ota’s Nevus: Comparison and Optimization of R134a, R404A and R32," 2020. |
| [4] | Freon™. [Online]. Available: https://www.freon.com/en/-/media/files/freon/freon-134a-push-bulletin.pdf?rev=299648e517aa4efda7674b2db8de0f3b. |
| [5] | engineeringtoolbox. [Online]. Available: https://www.engineeringtoolbox.com/r134a-properties-d_1682.html. |